## DNA Quality Assessment
DNA Quality Guideline
Important Measures Impacting DNA Quality:
For optimal sequencing performance, it is essential that your DNA sample:
- Is double-stranded. Single-stranded DNA is not compatible with the library preparation process
- Has not undergone multiple freeze-thaw cycles as they can lead to DNA damage
- Has not been exposed to high temperatures (eg: >65C for 1 hr can cause a detectable decrease in sequence quality), pH extremes (<6 or >9)
- Has an OD260/280 ratio between 1.8 and 2.0
- Has an OD260/230 ratio between 2.0 and 2.2
- Does not contain insoluble material
- Does not contain RNA contamination
- Has not been exposed to intercalating fluorescent dyes or ultraviolet radiation. SYBR dyes are not DNA damaging, but do avoid ethidium bromide
- Does not contain denaturants (eg. Guanidinium salts or phenol) or detergents (eg. SDS or Triton-X100)
- Does not contain carryover contamination from the original organism/tissue (eg. Heme, humic acid, polyphenols, etc
Guidelines for DNA Extraction to Obtain High Molecular Weight and Clean Genomic DNA
Before DNA extraction:
- Avoid incubation in complex or rich media
- Harvesting from several cultures rather than a single, high-density culture during early- to mid- logarithmic growth phase is preferred
- Extraction of small volumes is preferred over large volumes to avoid accumulating high concentrations of potentially inhibiting secondary components
Options for DNA Extraction: (NOT an official endorsement from PacBio)
- Qiagen Genomic-tip kit (50-100 kb)
- Qiagen Gentra Puregene kit (100-200 kb)
- Phenol-chloroform extraction
o Ensure phenol is fresh and not oxidized; use within three months of opening the reagent bottle
DNA Sample Quality Assessment:
DNA extraction method/kit: ____________________________________________________________
Items to check | Comments
DNA elution volume (ul). * DNA must be eluted in non EDTA buffered solution such as EB buffer (10mM Tris-Cl, pH8.5. Qiagen Cat. no. 19086)
A260/280 reading (1.8 to 2.0)
A260/230 reading (~2.0)
Concentration (ng/ul) by Nanodrop (REQUIRED)
Concentration (ng/ul) by Qubit (REQUIRED)

## RNA Quality Assessment
RNA Sample Quality Assessment:
For each IsoSeq preparation, we require at least 2ng of total RNA diluted in TE buffer (10mM Tris, pH 8.0 and 0.1mM EDTA)
RNA extraction method/kit:
Items to check | Comments
Total RNA elution volume (ul)
A260/280 readings (1.8 to 2.0)
A260/230 readings (>1.5)
Concentration (ng/ul) by Nanodrop
Concentration (ng/ul) by Qubit
RIN by Agilent Bioanalyzer/ RNA quality number by Fragment Analyzer

## Qualitative QC
Sample Name
Shearing Protocol
PacBio Protocol
Please Attached PEGF Image/ Bioanalyzer/ Fragment Analyzer result below.
(DNA before shearing/ Sheared DNA/ Post DNA Damage Repair & Repair End/ After Blunt Ligated and Exo Treated)

## Quantitative QC
Sample Name: ____________________________
Checkpoints | Starting amount (ng) | Concentration (ng/ul) | Volume (ul) | Total amount (ng) | Recovery (%) from Input
Input DNA into Shearing
Sheared & AMPure Concentrated |  |  |  |  | #DIV/0!
Starting amount: ___________________________ | Starting amount (ng) | Concentration (ng/ul) | Volume (ul) | Total amount (ng) | Recovery (%) from Input
Sheared DNA into ExoVII Treatment
Post DNA Damage Repair & Repair Ends |  |  |  |  | #DIV/0!
Blunt Ligated and Exo Treated |  |  |  |  | #DIV/0!
BluePippin Size Selected |  |  |  |  | #DIV/0!
Repair DNA Damage after size selection and AMPure |  |  |  |  | #DIV/0!
Final SMRTbell Library |  |  |  |  | #DIV/0!

## Sheet 1
gTUBE
Megaruptor
Covaris Sonication
Others
>20kb template prep using BluePippin size selection system (15-20kb cutoff) for Sequel System
>30kb template prep using Megaruptor ………